## Survey Data Form
Building/Room: |  |  |  | AU: |  | Date:
Wipe Test Counting Instrument:
| Manufacturer/Model: |  |  |  |  | Serial #:
| Background (cpm): |  |  |  | Detection Efficiency:
Contamination Limits:
|  | Unrestricted Areas | 20 dpm/100 cm2 alpha; 100 dpm/100cm2 beta/gamma
|  | Restricted Areas | 20 dpm/100 cm2 alpha; 200 dpm/100cm2 beta/gamma
Area Survey Instrument:
| Manufacturer/Model: |  |  |  |  | Serial #:
Background (cpm):
| External radiation levels of all areas < 3x background? |  |  |  | Yes____ No_____
Location # |  | Location Description |  |  |  | Gross cpm | Net cpm | Net dpm
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Comments:
Performed By: | [5 empty] | Date:
Place Survey Map Here